## SWT-Comb Filter Eff Turb
STATE OF CONNECTICUT
DEPARTMENT OF PUBLIC HEALTH
DRINKING WATER SECTION
SURFACE WATER TREATMENT
COMBINED FILTER EFFLUENT TURBIDITY MONITORING AND REPORTING FORM
(Surface Water Treatment Package - Page 1 of 4)
1. Public Water System (PWS) Information:
PWSID:
PWS Name:
City/Town:
2. Compliance Information:
Water System Facility ID:
Month: |  | Year:
Sample Collector(s) (if applicable):
3. Laboratory Information (if applicable):
Connecticut Lab PH ID: |  |  | Lab Name:
4. Analytical Results & Summary Information:
Filtration Technology:
95% Turbidity Limit (0.15, 0.3, 0.5, or 1 NTU): |  |  |  |  | (Summary Type: 95PT)
Combined Filter Effluent Turbidity
1. Number of Samples Required:
20
2. Number of Samples Taken:
3. Monitoring and Reporting Complied? |  |  |  |  | (Summary Type: MAXT)
4. Number of Samples Exceeding 1 NTU:
5. Highest Single Turbidity Reading:
6. Number of Samples Exceeding 95% NTU Limit:
7. Percent of Samples Exceeding 95% NTU Limit:
In the tables below, record the data and turbidity value for any measurement exceeding 1 NTU:
| Date | Turbidity |  | Date | Turbidity
|  | (NTU) |  |  | (NTU)

## SWT-Ind. Filter Eff. Turb.
STATE OF CONNECTICUT DEPARTMENT OF PUBLIC HEALTH
DRINKING WATER SECTION
SURFACE WATER TREATMENT
INDIVIDUAL FILTER EFFLUENT TURBIDITY MONITORING AND REPORTING FORM
(Surface Water Treatment Package- Page 2 of 4)
1. Public Water System (PWS) Information:
PWSID:
PWS Name:
City/Town:
2. Compliance Information:
Water System Facility ID:
Month: |  |  | Year:
3. Laboratory Information (if applicable):
Connecticut Lab PH ID: |  |  |  | Lab Name:
4. Individual Filter Effluent Turbidity Monitoring Summary:
1. Was each filter monitored continuously?
2. Were measurements recorded every 15 minutes?
3. Was there a failure of the continuous monitoring equipment?
If yes, did the failure last at least 4 hours?
If yes, were grab samples collected every four hours until equipment was returned to service?
Was continuous monitoring resumed within 5 days?
4. Was the turbidity level for an individual filter greater than 1.0 NTU in two consecutive measurements?
5. Was the turbidity level for an individual filter greater than 0.5 NTU in two consecutive
measurements after being on line for more than four hours?
6. Was the turbidity level for an individual filter greater than 1.0 NTU in two consecutive
measurements in three consecutive months?
7. Was the turbidity level for an individual filter greater than 2.0 NTU in two consecutive months?
Long Term 2 Surface Water Treatment Rule - Individual Filter Performance
8. Was the turbidity level for an individual filter less than 0.15 NTU in at least 95% of the measurements taken?
If No, has the system experienced more than two such failures in this calendar year?
9. Was the turbidity level for an individual filter greater than 0.3 NTU in two consecutive measurements?
If the response to 4, 5, 6, 7 or 9 was 'Yes', the report below must be completed (add additional sheet if necessary):
| Filter # | Turbidity measurements | Date of exceedance |  | Reason for exceedance(s) (or attach filter profile)
Additionally, if the reponse to 6 was 'Yes', a self assessment of the filter must be conducted and submitted no later than fourteen (14) days after the exceedance.
If the response 7 was 'Yes', the system must perform a comprehensive performance evaluation conducted by a third party, approved by the department, no later than thirty (30) days following an exceedance and have the evaluation completed and submitted to the department no later than ninety (90) days following the exceedance.

## SWT-EP&Dist. Cl2 Residual
STATE OF CONNECTICUT
DEPARTMENT OF PUBLIC HEALTH
DRINKING WATER SECTION
SURFACE WATER TREATMENT
ENTRY POINT AND DISTRIBUTION CHLORINE RESIDUAL MONITORING AND REPORTING
(Surface Water Treatment Package- Page 3 of 4)
1. Public Water System (PWS) Information:
PWSID:
PWS Name:
City/Town:
2. Compliance Information:
| Month: |  | Year:
Sample Collector(s) (if applicable):
3. Laboratory Information (if applicable):
Connecticut Lab PH ID: |  |  |  | Lab Name:
4. Analytical Results & Summary Information:
| Day | Minimum Disinfectant Residual at POE to Distribution System (mg/L) |  | Entry Point RDC (Summary Type: EPRD)
Water System Facility ID:
| 1 |  |  | 1. Number of Samples Required:
| 2 |  |  | 2. Number of Samples Taken:
| 3 |  |  | 3. Monitoring and Reporting Requirements Complied?
| 4 |  |  | 4. Number of Samples Under 0.2 mg/L Federal Level:
5
| 6 |  |  | Distribution RDC
| 7 |  |  | Water System Facility ID:
| 8 |  |  | 1. Number of Samples Required:
| 9 |  |  | 2. Number of Samples Taken:
| 10 |  |  | 3. Monitoring and Reporting Requirements Complied?
| 11 |  |  | 4. Number of samples without a detectable chlorine residual*:
| 12 |  |  | (= c+d+e from Page 4 of SWTR Package)
| 13 |  |  | 5. % of Samples without a detectable Federal Limit*:
| 14 |  |  | (= V from Page 4 of SWTR Package)
15
| 16 |  |  | MRDL in Distribution System
| 17 |  |  | 1. Monitoring Period Average (mg/L):
| 18 |  |  | 2. Running Annual Average (mg/L):
19
| 20 |  |  | Indicate in the table below any occurences of the EP RDC below 0.2 mg/L
21
| 22 |  |  | Date | Duration (hrs) | Date Reported to the Department
23
24
25
26
27
28
29
| 30 |  |  | * PHC Section 19-13-B102 (j)(3)(B)(iii): "Water in the distribution system with a heterotrophic bacteria concentration less than or equal to five hundred (500)/ML, measured as heterotrophic plate count (HPC) as specified in 40 CFR 141.74(a)(1) is deemed to have a detectable disinfectant residual for purposes of determining compliance with this requirement."
31

## SWT-Chlorine Residual
STATE OF CONNECTICUT
DEPARTMENT OF PUBLIC HEALTH
DRINKING WATER SECTION
SURFACE WATER TREATMENT
DISTRIBUTION SYSTEM DISINFECTANT RESIDUAL MONITORING AND REPORTING FORM
(Surface Water Treatment Package- Page 4 of 4)
1. Public Water System (PWS) Information:
PWSID:
PWS Name:
City/Town:
2. Compliance Information:
Water System Facility ID:
Month: |  | Year:
3. Summary Information:
Day | # of instances where the disinfectant residual was Measured (=a) | # of instances where no disinfectant residual was measured but HPC was measured (=b)* | # of instances where disinfectant residual was not detected and no HPC was measured (=c) | # of instances where disinfectant residual was not detected and HPC>500/ml (=d) | # of instances where disinfectant residual was not measured and HPC>500 ml (=e)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total:
c+d+e = |  |  | = Number of samples without a detectable chlorine residual
V = (c+d+e)/(a+b) x 100 = |  |  | = % of Samples without a detectable Federal Limit